## Building RA
|  | Yes | Action Required | N/A | Identified Risk | H/M/L | Action/Updates | By Whom | By Date | Outcome | Resolved?
Car park | Is the car park surface maintained to minimise slip and trip risks? | Yes | No |  | None | L | Car park and all surrounding pathways fully resurfaced in Summer 2023.
| Are vehicle and pedestrian routes/flows and car park and site entrance/exits clearly marked? | Yes | No |  |  | L | During resurfacing work, all parking bays and pedestrian areas were clearly marked with white lines in Summer 2023.
| Is the car park well lit? | Yes | No |  |  | M | Lighting has been installed around the hall. Completed in Spring 2025.
| Can emergency vehicles gain access? | Yes | No |  | Emergency vehicles can access the car park and playing field | M | The emergency services have the barrier combination to access the car park. There is a removable fence for access which is an easier route onto the field. Emergency services notified of location
Movement around the building | Are paths, steps and any ramps to and from the hall properly maintained to minimise slip and trip risks? | Yes | No |  |  | L | There is a small step from the rear fire exit onto the path. Signage in place and risk minimised as much as practicable |  |  | Safest possible exit in the event of an emergency exit from the building
| Is lighting suitable and sufficient to allow safe access and exit (including lighting of emergency exits)? | Yes | No |  |  | L | Lighting has been installed around the hall. Completed in Spring 2025.
| Have you provided matting to minimise rainwater etc being carried into the building? | Yes | No |  | Mats inside all doors
| Do rooms and corridors have sufficient lighting? | Yes | No |  | Yes. Lighting available in all rooms and corridors
| Are corridors clear of clutter? | Yes | No
| Are there any trailing electrical leads/cables? | No | No
| Are permanent fixtures in good condition, eg seats, shelving, cupboards, notice boards, signage etc? | Yes | No
| Is internal flooring in good condition, eg are carpets fixed? | Yes | No
| Where any doors contain glass, is this made from a safety material? | Partly | No |  | There are small glass panes in the centre of both doors leading into the main hall which may not be safety glass | L | The small panes are in the centre of the doors in the corridor either side of the kitchen. They are rebated into the door and, given their positioning, pose only a very low risk. No action required
| Are all stairs fitted with handrails? | Yes | No |  |  |  | Steps and ramps outside the bulding are protected except for very small step from fire exit at rear of hall.
Electrical equipment and services | If you have any fixed electrical installations:
| ■ Are they correctly installed, modified or repaired, then inspected and tested by an electrician or other suitably qualified person before being put into use? | Yes | No
| ■ Are they inspected and tested at suitable (occasional) intervals by an electrician or other suitably qualified person? | Yes | No |  |  |  | All required safety checks are carried out within the required timescale and reports/certificates published on the website
| If you own or hire any portable or fixed electrical equipment (eg a cooker or vacuum cleaner etc): | Yes | No |  | There is a projector available for hire which will require a 12 monthly PAT test. |  | PAT test Oct 2026
| ■ Has it been visually checked and, where necessary, tested at suitable (occasional) intervals to ensure that it is safe to use? | Yes | No |  |  |  | All required safety checks are carried out within the required timescale and reports/certificates published on the website
| ■ Has any damaged electrical equipment been taken out of service or replaced? | Yes | No
Gas equipment and services | If fixed gas appliances are available for use (eg a boiler, cooker, water heater), are arrangements in place for periodic examinations and any remedial action by a Gas Safe registered engineer? | N/A |  |  |  |  | There is no gas on the premises
| If mobile gas appliances are available for use (eg heaters fuelled by bottled gas), are arrangements for periodic examinations and any remedial action by a competent person in place? | N/A
LPG (liquified petroleum gas) | If there is an externally sited LPG installation with a storage vessel: | N/A |  |  |  |  | There is no LPG
■ Is the area around the vessel kept clear?
■ If it is near a road, is it protected from passing traffic?
■ Have pipes carrying the LPG to the hall been checked to ensure that they are in good condition?
Asbestos | Does the hall contain any asbestos? | No | No |  |  |  | There is no asbestos in the building. Professional survey conducted to confirm no asbestos.
| If there is asbestos, and it is in good condition, has a record been made of where it is? Are there arrangements to provide this information to anyone who carries out maintenance work on the building? | N/A
| Is there a system in place (eg fixed warning signs) to ensure the asbestos is not disturbed, and are regular checks made to ensure it remains undisturbed and in good condition? | N/A
| If damaged asbestos has been identified, have arrangements been made to ensure it is either repaired, encapsulated or removed? (The majority of work on asbestos must be carried out by a licensed contractor unless the asbestos fibres in the material are so well-bound-in that the work is lower risk and can be done by a contractor who is not licensed by HSE.) | N/A
| Have records of any asbestos been kept so that asbestos material likely to release high fibre levels can be removed first by licensed contractors if the hall is refurbished/demolished? | N/A
Legionnaires’ disease | Do you or users do anything that involves spraying/sprayed water (eg using showers in changing rooms, or a humidifier) that could contain legionella bacteria? (These bacteria can cause legionnaires’ disease.) | Yes | No |  |  |  | Water temperature is checked weekly as part of weekly checklist
| If you cannot avoid spraying water, do you have an up-to-date plan for dealing with this risk? | Yes | No |  |  |  | Water temperature is checked weekly as part of weekly checklist
| Is it clear who is responsible for doing things in the plan and do they keep a record of any checks (eg temperature checks)? | Yes | No |  |  |  | Nominated committee member conducts checks contained in weekly checklist
Responsibility | Do users have all the information about the hall they need to operate safely? | Yes | No |  |  |  | Booking conditions and all health and safety documentation including certificates is on the website
Miscellaneous | Are any chemicals in the building kept safely? | Yes | Yes |  | Child Lock to be added to kitchen cupboard | M | Locked in cleaning cupboard and out of sight of Children in kitchen. | Simon Kirkman | 2026-07-01
Risk assessment conducted by: Chris Eccles
Date: 12.11.21
Updated 04.03.22
Updated 04.08.22
Updated 14.10.22
Updated 11.04.23
Updated 07.01.24 Carl Boardman
Updated 18/05/2024 Chris Eccles
Reviewed/Updated 11/03/2025 Carl Boardman
Reviewed/Updated 11/10/2025 Carl Boardman
Reviewed/Updated 02/05/2026 Carl Boardman & Simon Kirkman
Note on D1: Simon Kirkman: Click on dropdown and remove blanks to get action list (can also turn off Column L - YES)

## Fire RA
Based on Fire Risk assessment checklist 2022
with additional questions from previous Fire RA
| Responsible Person : |  | Checklist produced 18/05/2024
| Simon Kirkman |  | Review/Updates :
Assessor :
Carl Boardman & Simon Kirkman
Date of Assessment :
2026-05-02
Number | Question | Answer | Action Required | Details/Mitigation | H/M/L | Action/Update | By Whom | By Date | Outcome | Resolved?
Electrical installations and equipment
1 | Are fixed installations periodically inspected and tested every five years? | Yes | Yes | Annual Inspections Due June 2026, 5 yearly testing due June 2030 | M | Book Inspection for June 26 | Simon Kirkman | 2026-06-01 |  | Yes
2 | Are electrical equipment and appliances periodically inspected and tested? | Yes | No | Annual PAT Testing due October 2026 | L
3 | Are electrical equipment fitted with correctly rated fuses? | Yes | No | Part of Electrical/PAT inspection
4 | Is the use of trailing leads and adaptors avoided where possible? | Yes | No | None in use
5 | Are flexes run in safe places where they will not be damaged? | Yes | No | Flexes routed suitably away from damage. Henry cable fully extended and checked for damage. Kettles and Microwave inspected. All OK
Smoking
6 | Are adequate measures in place to stop people from smoking on the premises? | Yes | No | No provision for smoking inside the building
7 | Are ‘No smoking’ signs provided? | Yes | No | No smoking signs in all Main rooms
8 | Are suitable arrangements in place for those who wish to smoke outside the premises? | Yes | No | Ash tray outside building away from bins and flammable objects
Arson
9 | Are the premises adequately secured to prevent unauthorised access? | Yes | No | Key Safe code changed regularly
10 | Are combustible materials, waste and refuse bins stored safely clear of the premises or in purpose-built compounds/rooms? | Yes | No | Bins locked to fence a safe distance from the building
Heating systems and portable heaters
11 | Are fixed heating systems subject to periodic maintenance? | Yes | No | Heating/Air conditioning system serviced 02/03/26
12 | Are portable heaters subject to periodic inspection and used safely? | N/A |  | No portable heaters in the building
Cooking
13 | Are adequate measures taken to prevent fires from cooking? | Yes | No | Fire Blanket and fire extinguisher in kitchen, Electic oven and hob so no gas
14 | Are filters and ductwork subject to regular cleaning? | No | No | Extractor fan inspected. Clean and Clear.
Housekeeping
15 | Is the standard of housekeeping adequate to avoid the accumulation of combustible materials and waste? | Yes | No | No Flamable gases or liquids stored at the hall. Users required to empty bins after events. All other storage minimised. Chairs stored in store with Fire Doors. Minimal Amount of materials stored in cloakroom.
16 | Is the upholstery of furniture in good condition? | Yes | No | Chairs replaced February 2023
17 | Are combustible materials kept separate from ignition and heat sources? | Yes | No | Minimal combustible materials. Very few heat sources in building
18 | Is it ensured that all contractors who undertake work on the premises are competent and qualified? | Yes | No | Reputable contractors used for all work
Dangerous substances
19 | Are suitable measures in place to address the fire hazards associated with the use and storage of dangerous substances? | Yes | No | Cleaning chemicals stored in a locked cupboard
Other significant fire hazards
20 | Are there any other significant fire hazards in the premises? | No | No
Means of escape
21 | Are all escape routes kept clear of obstructions to enable people to escape safely? | Yes | No | All exits have clear access
22 | Are all fire exits easily and immediately openable? | Yes | No
23 | Are distances of travel considered reasonable? | Yes | No
24 | Are suitable precautions in place for all inner rooms? | Yes | No | Several exit route options from most rooms and smoke detectors to warn of fire before it is an issue to allow safe egress
25 | Have measures been taken to ensure that smoke and flames cannot spread from one compartment within the building to another? Are internal fire doors labelled as such and normally kept closed? Are the self-closers on fire doors operating correctly? Do the doors on escape routes open in the direction of travel? (i.e. towards the escape route) | Yes | No | Doors between compartments are fire doors and fire extinguishers are placed at key points around the hall. Users have been advised to close all doors upon leaving
26 | Do the exits lead to a place of safety? Are the escape routes free from tripping and slipping hazards? | Yes | No | The exit to the rear of the building is less safe for wheelchair users as there is a small step from the door to the path and from the path onwards | L | Further research identified the probability of a wheelchair user being in the hall alone when a fire broke out requiring the use of the rear exit very low. No further action |  |  | Safest exit may be a different exit, but there are 3 other exits from the main room, which are all to places of safety
27 | Are final exits always unlocked when the premisis are in use? | No | No | Some users lock main door behind them for safety, but leave keys in to aid exit in an emergency
28 | Is adequate fire protection provided to stairways, including the provision of self-closing, fire-resisting doors? | N/A |  | No stairs
29 | Are reasonable arrangements in place for the safe evacuation of disabled employees and other disabled persons on the premises? | Yes | No | Safe exits from most rooms. Small step from one exit, which has signage to warn of issue, but most wheelchairs should pass over safely
Means of giving warning in case of fire
30 | Is there a suitable electrical fire alarm system? | Yes | No | Fire alarm serviced every 6 months
31 | Are automatic smoke/heat detectors provided and is the extent and coverage considered adequate? | Yes | No | Detectors in all rooms and attic space
32 | Can the fire alarm be raised without putting anyone in danger? Are the fire alarm call points clearly visible and unobstructed? | Yes | No | Alarm call points visible and accessible
33 | Is the fire alarm system connected to a monitoring centre which calls the fire brigade? | No | No | If a fire occurs when users are in the hall, it is their responsibility to call for help. If the hall is unoccupied, local residents will call for help
Manual fire extinguishers
34 | Is there reasonable provision of fire extinguishers? | Yes | No | Fire extinguishers close to all exits of suitable types
Emergency escape lighting
35 | Is there a reasonable standard of emergency escape lighting to illuminate escape routes and areas without natural lighting? | Yes | No
Fire safety signs and notices
36 | Is there a reasonable standard of fire exit signage and fire safety signs? | Yes | No | Illuminated emergency exit signs throughout hall
37 | Are general fire notices, detailing the action to take in the event of a fire, provided and sited in prominent locations? | Yes | No | Fire Action Signs in all rooms
Management of fire safety
38 | Has someone been appointed to manage fire safety? | Yes | No | Simon Kirkman appointed as Responsible Person
39 | Are procedures in the event of fire appropriate and properly documented? | Yes | No | Users to exit hall and call 999 and inform Bookings Secretary/Chairman
40 | Are all employees given regular instruction and training on the action to take in the event of a fire? | N/A | No | No employees
41 | Are employees with additional responsibilities, such as fire wardens, given additional training to carry out their roles? | N/A | No | No employees
42 | Have you asked your insurers for advice regarding the fire protection of your premises? | Yes | No | The hall complies with the advice given
43 | Are daily checks carried out to ensure exit routes are kept clear and fire exits remain easily openable? | No | No | Weekly Checklist includes checking exits. Responsibilty of users to manage exits for their events
44 | Are monthly and annual testing routines in place for the emergency escape lighting? | Yes | No | Lighting tested regularly on internal checklist. Lights tested annually by professional inspection
45 | Are weekly testing and periodic maintenance and servicing routines in place for the fire alarm system and any automatic detectors? | Yes | No | Alarm tested regularly on internal checklist. Alarm tested 6 monthly by professional inspection
46 | Are fire extinguishers subject to annual maintenance? | Yes | No | Fire extinguishers maintained Annually
47 | Has a procedure been established to review the fire risk assessment periodically? | Yes | No | Reviewed Quarterly
48 | Are records of testing and maintenance maintained? | Yes | No | All records available on website
49 | Is the First Aid Kit in place, refilled and are contents in shelf life? | Yes | No | Included on periodic checklist
50 | Is the Accident book in use and reviewed regularly? | Yes | No | Included on periodic checklist
Reviewed 11/10/2025

## Old Fire RA
No | Question | Ans. | Action required? | Identified Risk | H/M/L | Action/Update | By Whom | By Date | Outcome | Resolved?
1 | Is there a system for controlling the amounts of combustible materials and flammable liquids and gases stored on the premises? | Yes | No |  | L | No flammable liquids or gases stored on premises. As agreed at committee meeting 15.2.22 all materials have been removed from loft. 07/01/2024 All old cans of paint, floor varnish etc removed and disposed of safely. | CB & SK |  | Combustible materials minimised | Yes
2 | Is that system operating effectively? | Yes | No
3 | Are all the combustible materials and flammable liquids and gases stored safely? | Yes | No | Combustible material e.g. seat covers, paper stored in cupboard in main hall. | L | All Gala materials removed from store room to external container |  |  | Combustible materials minimised | Yes
3 | Are all heaters fitted with suitable guards and fixed in position away from combustible materials? | Yes | No
3a | Are fixed heating systems subject to periodic maintenance? | Yes | No
3b | Are portable heaters used safely? | N/A | No
4 | Are all items of portable equipment inspected and tested regularly and fitted with correctly rated fuses? | Yes | No |  |  | Next testing due June 23
5 | Is the wiring of the electrical installation inspected periodically and tested every 5 years by a competent person? | Yes | No |  |  | Next electrical safety test due June 2025
6 | Is the use of electrical extension leads and multi- point adaptors kept to a minimum? | Yes | No
7 | Are flexes run in safe places where they will not be damaged? | Yes | No
8 | Is the upholstery of furniture in good condition? | Yes | No
9 | Are adequate measures in place to stop people from smoking on the premises?
9b | Are "No Smoking" signs provided? | Yes | No
9c | Are suitable arrangements in place for those who wish to smoke outside the premises? | No | Yes | Smoking takes place in an area outside the hall which is a potential risk | L | Sourced ashtray for outside the building. Fitted a safe distance from front door |  |  | Risk from lit cigarette ends minimised | Yes
10 | Are the premises adequately secured to prevent unauthorised access?
10b | Are combustible materials, wasrte and refuse bins stored safely clear of the premises or in purpose-built compounds/rooms? | Yes | No |  |  | There are no letterboxes to reduce the risk. Dustbins locked to fence wiht Combination lock
11 | Have measures been taken to ensure that smoke and flames cannot spread from one compartment within the building to another? | Yes | No |  |  | Doors between compartments are fire doors and fire extinguishers are placed at key points around the hall. Users have been advised to close all doors upon leaving
11.5 | Are adequate measures itaken to prevent fires from cooking?
11.5b | Are filters and ductwork subject to regular cleaning? | No | Yes | No planned inspections |  | Add to monthly checks on weekly checksheet
12 | Is there a sufficient number of exits of suitable width for the people likely to be present? | Yes | No
13 | Do the exits lead to a place of safety? | Yes | No | The exit to the rear of the building is less safe for wheelchair users as there is a small step from the door to the path and from the path onwards | L | Further research identified the probability of a wheelchair user being in the hall alone when a fire broke out requiring the use of the rear exit very low. No further action | Village Hall |  | Safest possible exit for all users | Yes
14 | Are all gangways and escape routes free from obstructions? | Yes | No |  |  | Part of weekly checklist
15 | Are the escape routes free from tripping and slipping hazards? | No | No | Possible trip hazard from the rear exit - see Box 13 | L | See Box 13
16 | Are steps and stairs in a good state of repair? | Yes | No
17 | Are final exits always unlocked when the premise are in use? | Yes | No
18 | Are the devices securing final exits capable of being opened immediately and easily without using a key? | Yes | No |  |  | Push bar openings installed
19 | Are internal fire doors labelled as such and normally kept closed? | Yes | No
20 | Are the self-closers on fire doors operating correctly? | Yes | No
21 | Do the doors on escape routes open in the direction of travel? (i.e. towards the escape route) | Yes | No
22 | Are escape routes clearly signed? | Yes | No
23 | Are escape routes adequately lit? | No | Yes | The exit to the rear of the building is unlit | L | Provide a light which opens when the emergency exit door opens. The electrician cannot identify a safe and legal way to achieve this. Meeting 18.10.22 agreed that the both the risk and likelihood of it happening were very low and there should be sufficient light from the emergency light and people have torches on mobile phones. Decision taken to not pursue |  |  | Safest possible exit for all users | Yes
24 | Have plans been made and rehearsed regarding assisting disabled staff and visitors to evacuate the premises? | N/A
25 | Do procedures and practices avoid the use of combustible materials or processes that use heat? | N/A
26 | Have personnel been trained in how to call the fire brigade, the use of fire extinguishers and basic fire prevention? | N/A
27 | Have you asked your insurers for advice regarding the fire protection of your premises? | Yes | No |  |  | The hall complies with the advice given
28 | Where escape lighting is installed is it in working order and is it maintained regularly? | Yes | No |  |  | Tested on a routine basis.
29 | Is there an automatic fire detection and alarm system? | Yes | No
30 | Is the fire alarm system in good working order? | Yes | No |  |  | Part of weekly checklist
31 | Is the fire alarm tested regularly | Yes | No |  |  | Tested on a routine basis.
32 | Can the fire alarm be raised without putting anyone in danger? | Yes | No
33 | Are the fire alarm call points clearly visible and unobstructed? | Yes | No
34 | Is the fire alarm system connected to a monitoring centre which calls the fire brigade? | No | No
35 | Is the fire alarm system, and all of its components, continuously monitored? | No | No
36 | Is an adequate number of suitable fire extinguishers provided? | Yes | No
37 | Are the fire extinguishers and fire blankets located suitably and ready for use? | Yes | No
38 | Are the fire extinguishers serviced annually by a competent company or person? | Yes | No |  |  | Inspected/serviced on a routine basis
39 | Is any fixed fire-fighting installation or automatic fire detection system in working order? | Yes | No
40 | If you employ five or more people, have you recorded the findings of the fire risk assessment? | N/A
41 | Have you told your staff or their representatives about your findings? | N/A
42 | Are fire action notices displayed prominently throughout the premises? | Yes | No
43 | Has an emergency plan been drawn up in case of a major fire? | N/A
44 | Is a copy of the plan kept other than on the premises? | N/A
45 | Has a procedure been established to review the fire risk assessment periodically? | Yes | No |  |  | Annual check with quarterly review to update
46 | Is the First Aid Kit in place, refilled and are contents in shelf life | Yes | No |  |  | Added to routine periodic checklist |  |  | Suitable First Aid kit
47 | Is the Accident book in use and reviewed regularly | Partly | Yes |  |  | Added to routine periodic checklist |  |  | Learning from any accidents and improvements made
Risk assessment conducted by: CB
Date: 12.11.21
Updated 04.03.22
Updated 04.08.22
Updated 14.10.22
Updated 11.04.23
Updated 07.01.24